The following are areas of concern about the pool facilities and customer service at Pavilions in the Park, Horsham.

| Item | Comment | Response |
| --- | --- | --- |
| Health and safety |  |  |
| 1 | The quality of matting around the blocks and across cables at the deep end is very pool and a potential trip hazard. | New cable ordered |
| 2 | Steps into the gallery, particularly at the deep end are a hazard particularly when access is required by officials trying to negotiate temporary barriers (tape) stretched across the access point at the bottom of the stairs. An improve solution needs to be found. | Looking to find solution but not yet sure how this will work – possible a gate being installed. |
| 3 | The barrier at the AOE end of the balcony is unstable and now dangerous. | Programmed maintenance |
| 4 | Lighting around the balcony and pool area at the deep end is below safe levels as darkness falls – particularly around the poolside showers. | Should be completed before Christmas |
| 5 | The dangerous quality of the timing pads is unacceptable – one swimmer kicked through a pad when turning. It would appear that damaged pads are not disposed of but simply recycled as a replacement for other damaged pads. There is also some concern about the fitting of pads – on one occasion we found a pad bowed off the wall – this was replaced with another from the ‘stock’ of pads stored outside. | Carrying out checks on all equipment and introducing new management processes |
| 6 | The speaker tripods on the balcony constitute a significant trip hazard (see also comments 8, 9 & 10) | Noted – should be resolved by item 12 |

| Equipment failures – beyond those noted under H&S |  |  |
| --- | --- | --- |
| 7 | One of the new timing boxes (in lane 3 on 1st November) had a bad connection and caused problems throughout the session. | Checking all with results from Atlantis Christmas meet |
| 8 | The connecting cable across the deck is too short – a longer cable would reduce risk of trip and water ingress. | Checking |
| General issues |  |  |
| 9 | The pool amplifier and speaker system is not fit for purpose. There is no radio extension – essential for competition warm ups. | Being checked |
| 10 | The speakers installed on the poolside would be ideal as they have a good coverage if we could connect to them from a link on the AOE end of the balcony. | As discussed with BS |
| 11 | The intrusion of general announcements during both galas was both disrupting and unnecessary. The installation of a simple isolation switch would have averted this inconvenience. | Resolved - no general announcements should be made during events |
| Customer service |  |  |
| 12 | There is an inconsistency in the application of regulations. Over the first weekend we were allowed to use our own speakers – this had the immediate effect of improving sound management, reducing stress for swimmers and coaches and making the spectators feel more comfortable. On the second weekend we were not allowed to use these speakers. The result of this decision, which resulted in having to use the house speakers, was that sound quality was poor, volume had to be higher to carry across the pool resulting in spectators being exposed to uncomfortable sound levels. | Improved management protocols should resolve this. Permission has been gained to use our speakers and staff will help with installation. |

| 13 | Ever since the County has used the venue we have been able to use the first aid room as a prep room for drinks for our volunteers. Over the second weekend this facility was withdrawn at the last minute and without an alternative being offered – only after protest by myself were we offered a group changing room – this had to be fully cleaned before it could be used. | Checking with regulations and will write before Relay Gala |
| --- | --- | --- |
| 14 | The cleanliness of the poolside, particularly in the gallery area, was very poor with a range of clothing, cups, equipment and paper left from what looked like the previous weekend still scattered across the area. This had a direct impact on spectator comfort. Similar debris was left lying around the deep end on the second weekend. This is a health and safety issue as well as a customer service issue because of the risk of injury to bare foot swimmers. | Improved management protocols should resolve this |
| 15 | On both weekends our booking included a room for pre-event briefing and lunch. This was not made available on 1 November and our volunteers were confined to a barricade area of the café for their briefing and the sport hall for lunch – there were no tables, just a couple of rows of seats. | Reviewing booking systems to resolve this |
| 16 | Sussex County ASA is a significant customer of the facility yet we are unable, because of some historical precedent, to book and pay for the facilities we need directly with the operator. This should be reviewed so that a direct customer / supplier relationship can be established. | Resolved – we can now book directly with centre |